## Price List
KEHAO-Pole Station configuration Sheet
Please indicate the required quantity for each device
Function | Product | Model | Image | Parameter | Applications | Link | Unit Price USD | Quantity (Editable) | Total Amount (Reference only, official price per PI) | Customized Requirements (If any)
Water | Bubble Pressure Water Level Meter | KH.WQX | =DISPIMG("ID_DE48111BCB29462FA6672377054F8ECF",1) | 0-20 Meter Measuring Range | Ideal for monitoring water levels in: · Reservoirs, rivers, streams, and channels. · Hydrological and oceangraphic stations. · Pumping stations and hydropower plants. | https://www.kehaoinfo.net/bubble-pressure-water-level-meter/ | 559 |  | 0
|  |  |  | 0-30 Meter Measuring Range |  |  | 588 |  | 0
|  |  |  | 0-40 Meter Measuring Range |  |  | 632 |  | 0
|  | Air Tube 8mm outer diameter, 3mm inner diameter, made of nylon. |  | 30m |  |  | 39 |  | 0
|  |  |  | 50m |  |  | 65 |  | 0
|  |  |  | 100m |  |  | 130 |  | 0
| Radar Water Level Meter | KH.WLX | =DISPIMG("ID_E1A9CF49545244BC9DCE890258C6B7BE",1) | 0-10 Meter Measuring Range | Ideal for monitoring water levels in: ·Natural water bodies, including rivers, lakes, tidal zones, and reservoirs · Urban flood and waterlogging monitoring during rainy seasons, including low-lying areas and drainage outlets · Auxiliary water management, such as urban water supply and sewage systems | https://www.kehaoinfo.net/radar-water-level-gauge/ | 265 |  | 0
|  |  |  | 0-40 Meter Measuring Range |  |  | 267 |  | 0
|  | KH.LBRD | =DISPIMG("ID_34DBFE9F0CD54BE19CD46A8062C0EBEA",1) | 0-40 Meter Measuring Range | Ideal for monitoring water levels in: · Rivers, reservoirs, and open channels · Upstream and downstream of dams, including tailwater levels · Hydrology and water conservancy projects such as mountain torrents, flood control, and water level measurement in pressure regulating towers or wells | https://www.kehaoinfo.net/flange-radar-water-level-meter/ | 397 |  | 0
| Radar Current Meter | KH.LDX | =DISPIMG("ID_162E72E73183495ABC147FE197936B45",1) | 0.1-20 m/s Measuring Range | Ideal for flow velocity monitoring in: · Rivers, channels, inlets, and outlets · Hydrological monitoring when combined with water level measurements · Urban flood monitoring, including low-lying areas and drainage outlet flow monitoring · Flow monitoring in channels, culverts, pipelines, and underground pipe networks | https://www.kehaoinfo.net/radar-current-meter/ | 463 |  | 0
| Radar Flow Meter | KH.UOCF | =DISPIMG("ID_940CE624B2A3441F97FB953DC23494DE",1) | 0.05~20m/s Measuring Range | Ideal for measuring flow velocity, water level, or flow in: · Rivers, lakes, tidal zones, and reservoirs · Groundwater pipe networks and irrigation canals · Reservoir gates and water control structures | https://www.kehaoinfo.net/radar-flow-meter/ | 662 |  | 0
| Submersible Water Level Gauge | KH.YLS | =DISPIMG("ID_3A201964488A48BBB6FAB593841EB2D2",1) | 0-10 Meter Measuring Range | Ideal for monitoring water levels in: · Flowing water bodies, rivers of all sizes, and reservoirs · Hydrology and water conservancy projects · Upstream and downstream dam monitoring · Groundwater measurement · Chemical industry and sewage treatment plants · Urban drainage and pumping stations | https://www.kehaoinfo.net/pressure-submersible-water-level-meter/ | 130 |  | 0
|  |  |  | 0-20 Meter Measuring Range |  |  | 142 |  | 0
|  |  |  | 0-30 Meter Measuring Range |  |  | 154 |  | 0
|  |  |  | 0-40 Meter Measuring Range |  |  | 166 |  | 0
|  |  |  | 0-50 Meter Measuring Range |  |  | 178 |  | 0
|  |  |  | 0-60 Meter Measuring Range |  |  | 190 |  | 0
|  |  |  | Customizable |  |  |  |  | 0
| Float Water Level Gauge | KH.WFH | =DISPIMG("ID_AC804018B9E6479FB6BE75A373285646",1) | 0-40 Meter Measuring Range | Ideal for monitoring water levels in: · Reservoirs, rivers, and lakes · Pumping stations and water treatment facilities · Hydrology and water conservancy projects · Industrial applications requiring precise liquid level measurement | https://www.kehaoinfo.net/float-level-meter/ | 421 |  | 0
| Ultrasonic Water Level Meter | KH.CSB | =DISPIMG("ID_93923C2AC1AC4293883C75DD5FAF9235",1) | 0-10 Meter Measuring Range | Ideal for monitoring water levels in: · Rivers, lakes, reservoirs, and other natural water bodies · Tap water and sewage treatment plants · Pumping stations and urban water supply and drainage systems · Municipal, water conservancy, and petrochemical applications |  | 176 |  | 0
Rain | Tipping Bucket Rain Gauge- Standard | KH.JD | =DISPIMG("ID_F02354DB9D9D4D97B024947D370254F4",1) | Resolution 0.2mm | Ideal for monitoring rainfall in: · Hydrological observation and remote water monitoring systems · Flood control and early warning systems for mountain torrent disasters · Agricultural, environmental, and meteorological monitoring · Roads, railways, airports, and port infrastructure | https://www.kehaoinfo.net/tipping-bucket-rain-gauge/ | 118 |  | 0
|  |  |  | Resolution 0.5mm |  |  | 115 |  | 0
|  |  |  | Resolution 1mm |  |  | 110 |  | 0
| Tipping Bucket Rain Gauge- Windproof | KH.JDB | =DISPIMG("ID_5BFFF8D5AAEF40A68ACBC6E884F56AE4",1) | Resolution 0.5mm |  | https://www.kehaoinfo.net/windproof-tipping-rain-gauge/ | 281 |  | 0
Meteorology and Agriculture | Wind Speed and Direction Meteorological Instrument | KH.QX-2 | =DISPIMG("ID_00EF82240D63496E9A52A1D46A0BBE40",1) | 0-60 m/s 0-360° | Ideal for use in weather stations, environmental monitoring stations, transportation systems, airports, bridges and buildings, agriculture, and industrial ventilation monitoring. | https://www.kehaoinfo.net/wind-speed-and-direction-sensor/ | 71 |  | 0
| Temperature, Humidity and Atmospheric Pressure Weather Instrument | KH.QX-3 | =DISPIMG("ID_122FC3B84A954BCDA3307DA58FE2E33B",1) | -40℃~60℃ 0-100%RH 300-100hpa | Ideal for smart agriculture, meteorological monitoring, urban and environmental monitoring, wind power generation, marine vessels, aviation airports, highways, bridges, tunnels, and other applications requiring reliable weather data. | https://www.kehaoinfo.net/temperature-humidity-and-atmospheric-station/ | 88 |  | 0
| Ultrasonic Five-Parameter Weather Station | KH.CQX-5 | =DISPIMG("ID_BE7252BEAF0B4AC8800579AEF919F24F",1) | 0-60m/s 0-360° -40℃~80℃ 0-100%RH 300-1100hpa | Ideal for meteorological monitoring, urban environment monitoring, wind power generation, marine vessels, aviation airports, highways, bridges, tunnels, and other outdoor monitoring scenarios. | https://www.kehaoinfo.net/ultrasonic-five-parameter-meteorological-station/ | 300 |  | 0
|  |  | =DISPIMG("ID_CE5BB10A78DB4312A2AEE072D00A959B",1) | 0-60m/s 0-360° -40℃~80℃ 0-100%RH 300-1100hpa (304 Stainless Steel) |  | https://www.kehaoinfo.net/elementor-3075/ | 476 |  | 0
| Ultrasonic Six-Parameter Weather Station | KH.CQX-6 | =DISPIMG("ID_8590B59AC7724199AAE8590CAAB5C33E",1) | 0-60m/s 0-360° -40℃~80℃ 0-100%RH 300-1100hpa 0-4mm/min | Ideal for meteorological monitoring, urban environment monitoring, wind power generation, marine vessels, aviation airports, highways, bridges, tunnels, and other outdoor meteorological monitoring scenarios. | https://www.kehaoinfo.net/ultrasonic-six-parameter-meteorological-station/ | 476 |  | 0
|  |  | =DISPIMG("ID_3D8D1B4ACE834190BB6AB169FBE6469D",1) | 0-60m/s 0-360° -40℃~80℃ 0-100%RH 300-1100hpa 0-4mm/min (304 Stainless Steel) (Piezoelectric) |  | https://www.kehaoinfo.net/ultrasonic-six-parameter-meteorological-station-304ss/ | 653 |  | 0
| Light Ultraviolet Radiation Sensor | KH.GZW | =DISPIMG("ID_17D1AAE616014E3DB47B05AF5CF98DC0",1) | -100 kV/m~100 kV/m | Ideal for light intensity and UV monitoring in agriculture, environmental protection, meteorology, highways, railways, airports, ports, and other industrial or outdoor scenarios. | https://www.kehaoinfo.net/illumination-ultraviolet-radiation-sensor/ | 42 |  | 0
| Photoelectric Global Radiation Sensor | KH.GDF | =DISPIMG("ID_6971E396A40F4843A772C88F4BB40BD1",1) | 0~ 157286 Lux 0 ~ 1242 W/㎡ 0 ~ 262144m W/㎡ | Ideal for global radiation and light monitoring in agriculture, environmental protection, meteorology, renewable energy, transportation, and construction sites. | https://www.kehaoinfo.net/photoelectric-total-radiation-sensor/ | 106 |  | 0
| Soil Moisture Sensor | KH.TSQ | =DISPIMG("ID_DB2A7C71C14344B5876A8A7784E30135",1) | Power supply: DC12V Power consumption: <0.1 W Working temperature: -30~70℃ Communication interface: RS485 Working current: 8 mA @ DC12V Minimum data interval: 60 s | Ideal for agriculture and irrigation management, hydrological monitoring, geological disaster warning, ecological research, and engineering construction. Supports smart irrigation systems to optimize watering based on crop water demand, potentially saving 20–40% of water. | https://www.kehaoinfo.net/soil-moisture-sensor/ | 49 |  | 0
| Leaf Moisture Sensor | KH.YP | =DISPIMG("ID_EB853C98640C4BAFAA6F70EF4664BCE8",1) | Power Supply: DC 5–30 V Maximum Power Consumption: 0.75 W (12 V DC) Operating Temperature: -40°C to +60°C Protection Level: IP67 Sealing Material: Black flame-retardant epoxy resin Default Cable Length: 2 m (customizable) Dimensions: 45 × 15 × 123 mm Output Signal: RS485 (Modbus Protocol) Humidity Parameters Measuring Range: 0–100% RH Resolution: 0.1% RH Accuracy: ±5% RH (@25°C) Temperature Parameters Measuring Range: -40°C to +80°C Resolution: 0.1°C Accuracy: ±0.5°C (@25°C) | Ideal for agricultural monitoring, crop growth analysis, meteorological observation, and ecological or environmental research. | https://www.kehaoinfo.net/leaf-temperature-and-humidity-sensor/ | 62 |  | 0
Acquisition control transmission | Telemetry terminal | KH.WTU-300E |  | For single-sensor applications (water level or rain gauge only) 1× RS485 interface No built-in charge controller | Ideal for distributed data acquisition systems, including rainfall monitoring, water level monitoring, and environmental telemetry projects. |  | 176 |  | 0
|  | KH.WTU-300V |  | Supports multiple sensors Built-in 6A solar charge controller Battery voltage monitoring & device fault alarm | Suitable for reservoirs, flood control monitoring stations, mountain torrents, urban waterlogging, irrigation areas, hydrological and oceanographic stations, pumping and sluice stations, hydropower stations, meteorology, and agricultural soil moisture monitoring stations. |  | 368 |  | 0
|  | KH.WTU-300R |  | Supports multiple sensors Battery voltage monitoring & device fault alarm No built-in charge controller Additional Ethernet routing function | Suitable for reservoirs, flood control monitoring stations, mountain torrents, urban waterlogging, irrigation areas, hydrological and oceanographic stations, pumping and sluice stations, hydropower stations, meteorology, and agricultural soil moisture monitoring stations. |  | 441 |  | 0
|  | LoRA transmission |  | Compatible with VMCU |  |  | 72 |  | 0
|  | LoRA Gateway |  | Osmometer for data collection, LORA wireless transmission |  |  | 31 |  | 0
Power Supply | Solar Panel | 40W
100W
| Battery | 12V 65AH lead-acid battery
12V 100AH lead-acid battery
| Solar Charging Controller | 10A
20A
30A
Pole Station | Vertical Pole | 5 meters high and 11cm in diameter
| Lightning Rod | 1 meter
| Solar Panel Installation Components | Compatible with 40W Solar Panels
Compatible with 100W Solar Panels
Rain Gauge Installation Assembly
| Radar Water Level Gauge & Flow Meter & flow meter installation components | Install the Cross Arm (3 meters long)
| Meteorological Installation Components | 1 meter long
| Equipment Box | 60*45*24cm
Ground Cage, Angle Iron, Grounding Wire
| Installation Auxiliary Materials for Bubble Type or Pressure Type Water Level Gauges | PVC Pipe (5cm Diameter)
Data Platform | Cloud Service | Login account provided Users can view data via the cloud platform |  |  |  |  | 0
| On-Premise Deplyyment | KEHAO handle remote deployment to the customer's local server |  |  |  |  | 1000
Total Amount | [7 empty] | 0 | 0